## Plano Independent School District

# Benefits and Risk Management

#### School Health Service

Visual Acuity for Near Vision Training Checklist –Sloan Letter Chart

| Employee Name |  |  |  |  | Campus |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Instructor |  |  |  | Date of Training |  |  | Review Date |  |  |
| In order to perform near vision screening for students, employees must complete training and demonstrate the ability to perform the following tasks: |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | TRAINED |  | REVIEWED |  |
| 1 | The student should sit/stand in a quiet, well lit room with no glare from windows. |  |  |  |  |  |  |  |  |
| 2 | The student should be able to identify all letters 100% of the time, and also convey the letter seen to the screener. |  |  |  |  |  |  |  |  |
| 3 | The student should hold the near vision chart at a distance of 16 inches from their eyes. The screener should use the attached cord to correctly measure the specified distance. Do not allow the student to lean his or torso forward to the chart. |  |  |  |  |  |  |  |  |
| 4 | Start with binocular screening (both eyes) on the 20/50 line. |  |  |  |  |  |  |  |  |
| 5 | Screen each eye separately. |  |  |  |  |  |  |  |  |
| 6 | Cover the left eye first with an occluder or 3x5 card. |  |  |  |  |  |  |  |  |
| 7 | Have the student start on the 20/40 line. |  |  |  |  |  |  |  |  |
| 8 | Have the student read the letters down to the 20/20 line using a zig zag method for each line. |  |  |  |  |  |  |  |  |
| 9 | The student should have both eyes open, even when one eye is covered. |  |  |  |  |  |  |  |  |
| 10 | Repeat the same sequence with the right eye. |  |  |  |  |  |  |  |  |
| 11 | Visual acuity is recorded as the last line read correctly. (One more than ½ of the letters read correctly on a line). |  |  |  |  |  |  |  |  |
| 12 | Letters read correctly on the 20/30 line and below is considered passing. |  |  |  |  |  |  |  |  |
| 13 | If only the 20/40 line (or higher) is read correctly in one or both eyes, this is considered a failure. |  |  |  |  |  |  |  |  |
| 14 | Once a student fails, the student will be rescreened in 2-3 weeks. |  |  |  |  |  |  |  |  |
| 15 | If the student fails a second time, the student will be referred. |  |  |  |  |  |  |  |  |
| 16 | Document. |  |  |  |  |  |  |  |  |

I have received instructions on the procedures to be followed in near vision screening at school following Plano ISD guidelines and understand my responsibilities.

| Employee Signature |  | Date |  |
| --- | --- | --- | --- |
| Instructor Signature |  | Date |  |